## Sheet1
| Description | Manufacturer | Part Number | Electrical Rating |  | HAZ-Loc Ratings | Approval and file number |  |  | QTY | PRICE | SUB
1 | Fused DIN Rail Terminal, PT Series, 24 V, 6.3A, 5 x 20mm Fuse, Black Single | Phoenix Contact | 3211903 |  | 1 |  | CSA 13631 |  |  | 3 | 16.24 | 48.72
2 | Conn; TermBlk; DINRail; Fuse; LeverType; Black; for5x20mm G FuseInserts; w/LEDfor250VDC | Phoenix Contact | 3211907 |  | 2 |  | CSA 13631 |  |  | 16 | 14.21 | 227.36
3 | Modular part, Electromechanical Output Relay; 24 V in; 250 V, 6A out; DIN rail mnt (6.2mm) | Phoenix Contact | 5603154 |  | 3 |  | CSA 13631 |  |  | 11 | 23.67 | 260.37
4 | Modular part, Electromechanical Output Relay; 24 V in; 250 V, 6A out; DIN rail mnt (14mm) | Phoenix Contact | 2980461 |  | 4 |  | CSA 13631 |  |  | 4 | 47.88 | 191.52
5 |  |  |  |  | 5
6 | Ferrule; 14 AWG; HI-2.5/14; 0.31 in.; 0.55 in.; 0.31 in. L x 0.1 in. Dia.; Blue | Altech Corp | 2206.0/100 |  | 6 |  | CSA 65-93 |  |  | 1 | 14.5 | 14.5
7 | Ferrule; 12 AWG; Insulated Wire Ferrule; 10mm; 17.5mm; 4.8mm (Min.); Copper; Grey | American Electrical, Inc | 11101040 |  | 7 |  | CSA 21103329 |  |  | 1 | 26.32 | 26.32
8 | GROUP MARKER HOLDER; SMALL | Altech Corp | GMH6 |  | 8 |  |  |  |  | 1 | 31.75 | 31.75
9 | Fuse; Cylinder; Time-Lag; 0.5 A; 250 VAC; 5x20mm; Ceramic; Cartridge | Schurter | 0001.2501 | 250 V ac | 9 |  | UL E41599-19870529 |  |  | 6 | 1.1 | 6.6
10 | Fuse; Cylinder; Quick-Acting; 1 A; 250 VAC; 5x20mm; Ceramic; Cartridge | Schurter | 0001.1004 | 250 V ac | 10 |  | UL E41599-19870529 |  |  | 4 | 0.3 | 1.2
11 | Fuse; Cylinder; Time-Lag; 2 A; 250 VAC; 5x20mm; Ceramic; Cartridge | Schurter | 0001.2507 | 250 V ac | 11 |  | UL E41599-19870529 |  |  | 4 | 0.3 | 1.2
12 | Fuse; Cylinder; Quick-Acting; 4 A; 250 VAC; 5x20mm; Ceramic; Cartridge | Schurter | 0001.1010 | 250 V ac | 12 |  | UL E41599-19870529 |  |  | 2 | 0.3 | 0.6
13 | 1051016:0101, Marker Strip, ZB 6 LGS Series | Phoenix Contact | 1051016:0101 |  | 13 |  |  |  |  | 2 | 2.32 | 4.64
14 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 1-10; 1 strip 10 labels | Phoenix Contact | 1050017:0001 |  | 14 |  |  |  |  | 2 | 1.94 | 3.88
15 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 11-20; 1 strip 10 labels | Phoenix Contact | 1050017:0011 |  | 15 |  |  |  |  | 2 | 1.97 | 3.94
16 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 21-30; 1 strip 10 labels | Phoenix Contact | 1050017:0021 |  | 16 |  |  |  |  | 2 | 1.94 | 3.88
17 | ZB Marking Strip (1 strip of 10 labels)marked 31 to 40 horizontally 5.2mm | Phoenix Contact | 1050017:0031 |  | 17 |  |  |  |  | 2 | 1.94 | 3.88
18 | ZB Marking Strip (1 strip of 10 labels)marked 41 to 50 horizontally 5.2mm | Phoenix Contact | 1050017:0041 |  | 18 |  |  |  |  | 2 | 1.94 | 3.88
19 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 51-60; 1 strip 10 labels | Phoenix Contact | 1050017:0051 |  | 19 |  |  |  |  | 2 | 1.97 | 3.94
20 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 61-70; 1 strip 10 labels | Phoenix Contact | 1050017:0061 |  | 20 |  |  |  |  | 2 | 1.94 | 3.88
21 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 71-80; 1 strip 10 labels | Phoenix Contact | 1050017:0071 |  | 21 |  |  |  |  | 2 | 1.96 | 3.92
22 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 81-90; 1 strip 10 labels | Phoenix Contact | 1050017:0081 |  | 22 |  |  |  |  | 2 | 1.96 | 3.92
23 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 91-100; 1 strip 10 labels | Phoenix Contact | 1050017:0091 |  | 23 |  |  |  |  | 2 | 1.99 | 3.98
24 | 1050017:0101, Marker Strip, ZB 5 LGS Series | Phoenix Contact | 1050017:0101 |  | 24 |  |  |  |  | 2 | 2.33 | 4.66
25 | 1050017:0111, Marker Strip, ZB 5 LGS Series | Phoenix Contact | 1050017:0111 |  | 25 |  |  |  |  | 2 | 2.28 | 4.56
26 | ZB Marking Strip; Term Blk; Horiz; 5.2mm; Nos 121-130; 1 strip 10 labels | Phoenix Contact | 1050017:0121 |  | 26 |  |  |  |  | 2 | 1.99 | 3.98
27 | ZB Marking Strip; Term Blk; 5.2mm; Blank; White | Phoenix Contact | 1050004 |  | 27 |  |  |  |  | 20 | 1.17 | 23.4
28 | Plug-in bridge, pitch: 5.2 mm, length: 22.7 mm, width: 19.4 mm, number of positions: 4 | Phoenix Contact | 3030187 |  | 28 |  | CSA 13631 |  |  | 6 | 1.75 | 10.5
29 | Plug-in bridge, pitch: 5.2 mm, length: 22.7 mm, width: 9 mm, number of positions: 2 | Phoenix Contact | 3030161 |  | 29 |  | CSA 13631 |  |  | 2 | 0.51 | 1.02
30 | Plug-in bridge, pitch: 5.2 mm, length: 22.7 mm, width: 50.6 mm, number of positions: 10 | Phoenix Contact | 3030213 |  | 30 |  | CSA 13631 |  |  | 3 | 4.11 | 12.33
31 | Plug-in bridge, pitch: 5.2 mm, number of positions: 20 | Phoenix Contact | 3036929 |  | 31 |  | CSA 13631 |  |  | 1 | 8.1 | 8.1
32 | Grey PVC Open slot Cable Trunking Slotted Panel Trunking, W25 mm x D25mm, L2m | Phoenix Contact | 3240187 |  | 32 |  |  |  |  | 1 | 7.49 | 7.49
33 | Mounting Rail, Perforated, 35x15mm, each piece is 2 meters | Phoenix Contact | 1201730 |  | 33 |  |  |  |  | 2 | 10.2 | 20.4
34 | Storage, SD card; P Series; Industrial MLCmodel; 8GB; Class 4; -40C° to +85 C° | Panasonic | RP-SDPC08DA1 |  | 34 |  |  |  |  | 2 | 28.23 | 56.46
35 | Cable duct, gray, consisting of upper and lower part, (W40mmxH80mm) | Phoenix Contact | 3240198 |  | 35 |  |  |  |  | 3 | 13.55 | 40.65
36 | Feed-through term block; Push-in conn; AWG:26-12; W:5.2mm; 35.3mm; white; NS35/7 5 | Phoenix Contact | 3209579 |  | 36 |  | CSA 13631 |  |  | 7 | 2.57 | 17.99
37 | Conn; Term Blk; DIN Rail; Ground; Push-In Conn; 26-12 AWG; Green-Yellow; 5.2mm W | Phoenix Contact | 3209594 |  | 37 |  | CSA 13631 |  |  | 10 | 7.93 | 79.3
38 | Conn; Term Blk; DIN Rail; Feed Thru; Push-In Conn; 26-12 AWG; Gray; 5.2 mm W | Phoenix Contact | 3209510 |  | 38 |  | CSA 13631 |  |  | 22 | 1.48 | 32.56
39 | Conn; Term Blk; DIN Rail; Feed Thru; Push-In Conn; 26-12 AWG; Blue; 5.2 mm W | Phoenix Contact | 3209523 |  | 39 |  | CSA 13631 |  |  | 22 | 1.48 | 32.56
40 | Feed Thru Trm Blk, PT 2.5 Series, 2.5mmsq, 800V, 24A, Push In Term, Red, Single Lvl | Phoenix Contact | 3209512 |  | 40 |  | CSA 13631 |  |  | 16 | 1.62 | 25.92
41 | Feed Through Trm Blk, PT 2.5 Series, 2.5mmsq, Push In Term, White, Single Level | Phoenix Contact | 3209514 |  | 41 |  | CSA 13631 |  |  | 5 | 1.61 | 8.05
42 | Feed Through Trm Blk, PT 2.5 Series, 2.5mmsq, Push In Term, Yellow, Single Level | Phoenix Contact | 3209511 |  | 42 |  | CSA 13631 |  |  | 7 | 1.62 | 11.34
43 | Terminal Block; Push In Connection; Black; PT 2, 5-QUATTRO BK | Phoenix Contact | 3214424 |  | 43 |  | CSA 13631 |  |  | 6 | 2.64 | 15.84
44 | Conn; Term Blk; DIN Rail; Feed Thru; Push-In Conn; 26-12 AWG; Blue; 5.2 mm W | Phoenix Contact | 3209581 |  | 44 |  | CSA 13631 |  |  | 6 | 2.46 | 14.76
45 | Conn; Term Blk; Separating Plate; 2 mm Thick; for end of PLC terminal strip (Relay Spacers) | Phoenix Contact | 2966841 |  | 45 |  | CSA 13631 |  |  | 10 | 5.5 | 55
46 | End Stop; Term Blk; DIN Rail; Gray; 34 mm H, 44 mm L, 9 mm W | Altech Corp | CA702 |  | 46 |  |  |  |  | 14 | 0.32 | 4.48
47 | End Cover; Term Blk; Gray; 48.6 mm L; 2.2 mm W; 29.1 mm H | Phoenix Contact | 3030417 |  | 47 |  | CSA 13631 |  |  | 4 | 0.81 | 3.24
48 | Continuous Plug-In Bridge; 500 mm; Gray | Phoenix Contact | 2966838 |  | 48 |  | CSA 13631 |  |  | 1 | 22.94 | 22.94
49 | Continuous Plug-In Bridge; 500 mm; Red | Phoenix Contact | 2966786 |  | 49 |  | CSA 13631 |  |  | 1 | 22.25 | 22.25
50 | Continuous Plug-In Bridge; 500 mm; Blue | Phoenix Contact | 2966692 |  | 50 |  | CSA 13631 |  |  | 1 | 22.25 | 22.25
51 | ANGLED BRACKETS WITH M 6 SCREW | Phoenix Contact | 1201086 |  | 51 |  |  |  |  | 3 | 4.91 | 14.73
52 | Cord, Patch; 7 ft.; Cat 5e; Booted; Gray | Quest Technology International, Inc. | NPC-1907 |  | 52 |  | UL E466009 | ETL |  | 3 | 1.76 | 5.28
53 | Idec HG3G, 8.4 in TFT LCD Touch Screen HMI, Colour, 800x600pixels, 231x176x54.4 mm | IDEC Corporation | HG3G-8JT22TF-W |  | 53 |  | UL cert# 20160801-E211795 |  |  | 1 | 1094.57 | 1094.57
54 | HMI Display; Touch-Screen; 4.3" TFT ColorLCD; 65K (Silver Bezel); HG1G Series | IDEC Corporation | HG1G-4VT22TF-S | 10.2-28V DC | 54 | Class 1 Div 2 | UL 20160727-E102542 |  |  | 1 | 319.06 | 319.06
55 | Controller, Logic, FC6A SERIES MicroSmart, 24 DC, 40IO, Trans. Source | IDEC Corporation | FC6A-C40P1CE | 20.4 to 28.8V DC | 55 | Class 1 Div 2 | UL NGRAG7.E211795 |  |  | 1 | 496.38 | 496.38
56 | Thermocouple Cartridge; RTD; for Use w/FT1A SmartAXIS Touch PLCs | IDEC Corporation | FC6A-PJ2CP | 20.4 to 28.8V DC | 56 | Class 1 Div 2 | UL 20141215-E211795 |  |  | 3 | 109.35 | 328.05
57 | Module; FC6A SERIES MicroSmart; 24 VDC Input; 16 Inputs, Relay, Screw | IDEC Corporation | FC6A-R161 | 0 to 28.8V DC | 57 | Class 1 Div 2 | UL NGRAG7.E211795 |  |  | 1 | 194.04 | 194.04
58 | Module; FC6A SERIES MicroSmart; Analog Input; 8 Inputs, 0-10VDC, 0/4-20mA | IDEC Corporation | FC6A-J8A1 | 0-28.8V DC | 58 | Class 1 Div 2 | UL NGRAG7.E211795 |  |  | 2 | 233.92 | 467.84
59 | Module; FC6A SERIES MicroSmart; HMI Expansion Module | IDEC Corporation | FC6A-PH1 | 24V 1.5ma | 59 | Class 1 Div 2 | UL NGRAG7.E211795 |  |  | 1 | 224.72 | 224.72
60 | Power Supply; AC-DC; 24V; 10A; 85-264V In; Enclosed; DIN Rail Mount; 240W; PS6R Series | IDEC Corporation | PS6R-G24 | 100 to 240VAC | 60 | Class 1 Div 2 | UL E177168 CSA C22.2 No. 107.1 |  |  | 1 | 248.18 | 248.18
61 | Ethernet Switch, Unmanaged, 5 TP RJ45 Port, 10/100 Mbps, Autocrossing, SFN | Phoenix Contact | 2891152 |  | 61 |  | cUL E140324 |  |  | 1 | 91.24 | 91.24
62 | Modular part; Solid State Output Relay; 120V in; 33VDC 100mA out; DIN rail mnt | Phoenix Contact | 2900367 |  | 62 |  | cUL E172140 |  |  | 6 | 51.53 | 309.18
63 | Modular part, Solid State Output Relay; 24VDC in; 253VAC, 750mA out; DIN rail mnt | Phoenix Contact | 2900369 |  | 63 |  | cUL E172140 |  |  | 2 | 47.29 | 94.58
64 | 18awg MTW Blue | Southwire Company | 18awg MTW Blue | 600V | 64 |  | UL E51583 CSA156205 |  |  | 1 | 37 | 37
65 | 18awg MTW White/Blue | Southwire Company | 18awg MTW White/Blue | 600V | 65 |  | UL E51583 CSA156205 |  |  | 1 | 37 | 37
66 | 18awg MTW Orange | Southwire Company | 18awg MTW Orange | 600V | 66 |  | UL E51583 CSA156205 |  |  | 1 | 37 | 37
67 | 18awg MTW White/Orange | Southwire Company | 18awg MTW White/Orange | 600V | 67 |  | UL E51583 CSA156205 |  |  | 1 | 37 | 37
68 | 18awg MTW Black | Southwire Company | 18awg MTW Black | 600V | 68 |  | UL E51583 CSA156205 |  |  | 1 | 37 | 37
69 | 18awg MTW White | Southwire Company | 18awg MTW White | 600V | 69 |  | UL E51583 CSA156205 |  |  | 1 | 37 | 37
70 | 16awg MTW Green/Yellow | Southwire Company | 16awg MTW Green/Yellow | 600V | 70 |  | UL E51583 CSA156205 |  |  | 1 | 45 | 45
[10 empty] | Total | 5570.76
Hours
|  | CSA Compliance Datasheets Acquisition | [6 empty] | 8
|  | Panel Build | [6 empty] | 32
|  | Product Research | [6 empty] | 24
|  | Program Development (Customized) | [6 empty] | 80
|  | Functionality Testing | [6 empty] | 6
150