[image: image1.png]TULSA GAS
TECHNOLOGIES, INC.



Tulsa Gas Technologies, Inc.
4809 S. 101st East Ave     Tulsa, OK 74146
PHONE: 918-665-2641    FAX: 918-665-2657
12/28/2016
Dispenser Serial Number 16121141
SIDE 1
Micro Motion Transmitter Configuration

Required settings for correct operation of Micro Motion mass flow meter.

Transmitter Model Number:
2700

Sensor Model Number:
CNG050
Transmitter Serial Number:    3353718
Sensor Serial Number

13126736
Flow Calibration Factor:
138.484.50
Flow Units


L/min

Communication on RS-485

Protocol


Modbus ASCII 7 Bit

Modbus Address

1

Baud Rate


1200

Parity



Odd
Stop Bits


1

HART Communication
Superimposed on Primary mA (PV)

Analog Output (4-20 mA)

Analog Variable (PV)

Mass Flow

Lower Range Value

00000 lb/min

Upper Range Value

300.000 lb/min

mA Cutoff


0.0000 lb/min

Freq/Rate

Frequency variable (TV)
Mass Flow

Frequency Cutoff

0.2500 lb/min

Pulses per Unit

1000.00000 per lb

Temperature

Temp Units


deg C
